## Slide 1: In Fill Gain Corrections: E/p vs Laser Sam Grant UCL Muons Meeting 23th June 2019

## Slide 2
Trackers!
Layers of wire under high voltage, encased in straws filled with an argon-ethane gas mix
Provides information about track momentum and position
Two sets of 8 modules, in front of calorimeters 13 and 19.
Very useful for studying systematics as well!
Ionisation -> Charges drift to wires -> Read out and reconstruct -> No worries

## Slide 3
Gain sag!
Sudden drop and subsequent recovery in gain at early times
This is due to bunching after injection saturating the calorimeters
Must be fitted and corrected in processing
Amplitude p1 and time constant p2 are used for gain corrections

## Slide 4
Tracker-calo matched tracks provide a different way to measure gain, so we can perform an independent cross check of the laser.
Gain = measured energy / true energy
E = p, and trackers do not “see” gain sag, so:
Gain = cluster energy (calo) / track momentum (tracker)
Gain = E/p
The E/p ratio

## Slide 5
Overview
Derive the recovery times and amplitudes using E/p
Quantify the level of deviation between laser and E/p:
  We can use the pull per crystal in units of sigma
  As well as the fractional uncertainty per crystal

## Slide 6
Cuts on fits per crystal
//QUALITY CUTS
// Require high stats
if (N < 100000) continue;
// Require reasonable reduced chi squared
if(chiSqrNDF < 0.25 || chiSqrNDF > 4) continue;
// Cut unphysical params as last resort
if(tau > 25 || A > 0.1) continue;
These are vital, but I’m not sure about them tuning them. Is it OK to cut on the parameters themselves?

## Slide 7
Cuts Illustration (Pull)

## Slide 8
Cuts Illustration (Fractional Uncertainty)

## Slide 9
Cuts Illustration (1D Distributions)

## Slide 10
Pull
With quality cuts all crystals lie within 3 sigma, which is good!

## Slide 11
Pull
With quality cuts all crystals lie within 3 sigma, which is good!
Total std dev is about 1.5 sigma

## Slide 12
Fractional Shift
Looks like the shift (percentage uncertainty) is about 40%, this could be a useful systematic

## Slide 13
Fractional Shift
Anna gave me a load of new laser data yesterday and it has made things much worse 

## Slide 14
Summary
This is a very simple thing to do in theory!
I’ve been spending a lot of time going back and forth with cuts:
  I want to retain as many crystals as possible
  I want cuts to be well motivated
  I want it to work with the new data

## Slide 15
Fractional Shift
The fractional shift equation does not account for uncertainties…